Young Star Youth Academy

Drinking Water Consumer Confidence Report

For 2020

The Young Star Youth Academy has prepared the following report to provide information to you, the consumer, on the quality of our drinking water.  Included within this report is general health information, water quality test results, how to participate in decisions concerning your drinking water and water system contacts.

The Young Star receives its drinking water from wells. These wells are located across state route 97 by the shrine. We treat for iron and manganese removal, soften, and add chlorine for disinfection.

Protecting our drinking water sources from contamination is the responsibility of all area residents. Please dispose of hazardous chemicals in the proper manner and report polluters to the appropriate authorities. Only by working together can we insure an adequate and safe supply of water for future generations.

Ohio EPA completed a study of the Young Star source of drinking water, to identify potential contaminant sources, and provide guidance on protecting the drinking water source. According to this study, the aquifer (water rich zone) that supplies water to the Young Star has a moderate level of susceptibility to contamination. This was determined based on the following:

- Regional information suggests this aquifer has a moderate susceptibility.

- No evidence to suggest that ground water has been impacted by any significant levels of chemical contaminants from human activities.

- Presence of significant potential contaminant sources in the protection area.

This susceptibility means that under currently existing conditions, the likelihood of the aquifer becoming contaminated is moderate. Implementing appropriate protective measures can minimize this likelihood. More information about the source water assessment or what consumers can do to help protect the aquifer is available by calling Dean’s Backflow Service, 419 994-1622

The sources of drinking water both tap water and bottled water includes rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include: (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban Strom water runoff, and septic systems; (E) radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency(s Safe Drinking Water Hotline (1-800-426-4791).

Who needs to take special precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

About your drinking water.

The EPA requires regular sampling to ensure drinking water safety.  The Young Star conducted sampling for {bacteria; inorganic; radiological; synthetic organic; volatile organic} in a three year cycle.  Samples were collected for a total of 10 different contaminants most of which were not detected in the Young Star water supply.  The Ohio EPA requires us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though accurate, are more than one year old.

Lead

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Young Star is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791or at http://www.epa.gov/safewater/lead.

Infants and young children are typically more vulnerable to lead in drinking water than the general population.  It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home's plumbing.  If you are concerned about elevated lead levels in your home's water, you may wish to have your water tested and flush your tap for 30 seconds to 2 minutes before using tap water.  Additional information is available from the Safe Drinking Water Hotline (1-800-426-4791).

License to Operate (LTO) Status Information

We have a current, unconditioned license to operate our water system.”

How do I participate in decisions concerning my drinking water?

Public participation and comment are encouraged by contacting the Young Star Youth Academy.

For more information on your drinking water contact Dean’s Backflow Service @ 419-994-1622